University Residences:	1.	Finds that one or more fire extinguishers have been

Resident Advisor or Director,		discharged.

or any person in

Academic Buildings:	2.	Contacts the University Police dispatcher or officer.

Any person

University Police Dispatch	3.   Dispatches Public Safety personnel to site to contact caller and limit powder spread (see #6 below).

4.	Calls for a Facilities Management (FM) Work Control (business hours) or Steam Plant (after hours) for fire extinguisher clean-up trained staff member to cleanup of the powdered material.

5.   Notifies Tech Maintenance, if fire alarm system has been activated.

NOTE: If the fire alarm has sounded, the fire alarm panel may not be re-set until the clean-up has been completed.

6.    If a fire alarm was activated and a fire watch is required, coordinates with Procedure BFA 5000.04A, responding to a fire alarm.

Public Safety Personnel	7.	Secures the area ‘contaminated’ with the powder from access by any persons until clean-up occurs using the following approaches:

Closes the door to a room and find another space for occupants to stay temporarily

Keeps people from entering a larger area, using a sign

If it is in a hallway, advises persons to stay inside their rooms with the doors closed to avoid breathing dust, unless dust has entered room and then persons should leave area.

NOTE:  The powdered fire-extinguishing agents used on campus are non-toxic powders, but breathing them can cause respiratory symptoms, such as, watery or irritated eyes, nasal passages, and throat, sneezing, and chest tightness.

Facilities Management	8. 	Calls out the fire extinguisher clean-up trained staff.

Work Control (business hrs)		Call Environmental Health and Safety for any actual fire or Steam Plant (after hrs)		or if the event occurred in a room where hazardous

materials are present.

Responding Fire	9.	Obtains personal protective, equipment, clean-up

Extinguisher Clean-Up Staff 		kit, camera, and keys and responds to site of discharge.

10.	Immediately, contacts the UPD officer and coordinates the following points during the contact:

- The FM Supervisor or Manager should call out Environmental Health and Safety for any actual fire or if event occurred in a room where hazardous materials are present.

- The affected area shall be secured from continued access.

- Determines whether the responding employee(s) can perform the clean-up or if the FM Supervisor or Manager should call a vendor.

  - If vendor required, the responding employee remains on-site to coordinate and document vendor work including area photography and replacement of used extinguishers.

- If a mechanical system is impacted, it must be locked and tagged out prior to clean-up.

  - If so, additional employees may be called in to evaluate the system.

11. Photographs the affected area.

12. Cleans up the affected area or coordinates clean-up with vendor.

13.	Replaces discharged extinguishers with full ones.

14.	Notifies University Police dispatcher when the clean-up is completed.

15.	Returns empty fire extinguishers to Facilities Management, along with keys, camera and clean-up kit.