UPD Dispatcher

FM Employee,

EHS Employee

-OR-

UPD Officer

UPD Dispatcher

Receives report of smoke or fire and determines location (skip to step 8).

-OR-

Notices activation of fire monitoring system (skip to step 7).

-OR-

Receives report of alarm sounding.

Confirms the alarm is NOT local (in room only) and is sounding in the hallways and through the building (skip to step 7).

4a.	If the alarm is local ONLY, uses PRO-5000.04D, “Responding to Local Smoke Detector Alarm”

-OR-

Hears a fire alarm sounding throughout a building or receives information about alarm sounding.

Contacts UPD Dispatch and provides details and location of alarm.

Checks information for prior notification of fire drill, system testing or maintenance activity in area of alarm.

7a.	If notification of fire drill or fire system testing activity in area, notifies reporting party (if any) and takes no further action.

UPD Dispatcher

(continued)

UPD Officer

UPD Dispatch

7b.	If notification of maintenance activity in area, continue to step 8.

Dispatches UPD Officer to site of alarm.

Calls Bellingham Fire Department (911) and directs to site of alarm as appropriate.

Responds as in TSK-5000.04A, “Responding to a Fire Alarm-UPD Officer

If requested by UPD Officer, provides an after business hours call out per PRO-5750.01B, “Calling out FM Personnel after Business Hours”.

If requested, by UPD Officer, calls EHS Responding Personnel to respond per TSK-5000.04 B, “Responding to a Fire Alarm-EHS Staff”

FM Responding Personnel

UPD Officer or Tech Maintenance (if present)

Responds as per PRO-5750.01C, “Responding to After Hours Emergency”.

Meets UPD Officer and assists as directed.

14a.	Meanwhile, assesses need for additional FM Personnel and if necessary requests UPD dispatcher to call-out (step 10).

When the building is released (from TSK-5000.04A, “Responding to a (Building-wide) Fire Alarm-UPD Officer”), gives clearance to FM Responding Personnel.

Resets fire control system (see TSK-5000.04C, “Resetting Fire Control System”).

16a.	If the system cannot be reset, requests call out to FM Tech Maintenance (if not present already).

When the emergency is over, provides an all clear signal is given to all persons around building.