Reporting person	1. 	Notifies the Environmental Health and Safety (EHS) director or designee that a significant part of the fire system is not functional.

EHS Fire Safety or designee	2.	For unplanned shutdowns, upon notification that part of the WWU fire protection system is not functioning properly, notifies the Bellingham Fire Department as follows:

2a.	Calls the City of Bellingham Fire Marshal, Ron Richards, on his office phone:

(360) 778-8422

2b. 	If the call goes to voice mail, calls BFD Life Safety line at:

(360) 778-8420

2c. 	If the call does not go through, calls the 911 dispatcher at the non-emergency number below and asks to have the Battalion Chiefs notified of the malfunction:

(360) 676-6814

3. 	Follows the call with an email to Ron at rrichards@cob.org and grp.fd.lifesafety@cob.org.

4.	Works with Facilities Management staff to ensure that a malfunctioning hydrant is covered to signify to fire responders that it is out of order and that other out of order systems are identified.

5.	For planned fire system shutdowns, Facilities Management staff will notify EHS Fire Safety person. The EHS Fire Safety person will send an email to grp.fd.lifesafety@cob.orgnotifying them of the planned shutdown.